
[image: image1.png]z
=
w
T
=
a
<
i
=
-
o
o
w
o
@
o





	Activity 2.1.1 Wood Frame Systems



Introduction

Most people do not consider what is behind the painted walls or exterior surface in most buildings. Homes are often constructed with a wood frame, especially if the area has an abundant supply of wood. Much of the United States has an abundant supply, so wood frame buildings are common. Different regions, however, dictate other differences, such as whether the outside facing walls are made of 2x4 or 2x6 studs to allow for different amounts of insulation. Wood frame construction has existed for many years. If you visit a construction site to observe the skeleton of such a structure, you should be able to make sense of the placement of the different support pieces. 

Equipment

· Internet and/or reference texts

Procedure

In this activity you will use available resources to identify the primary parts of a traditional wood frame structure and then describe the purpose of each.

1. Use letters or numbers to identify at least 15 components in the image below. Then list the purpose of each component.

2. Upon completion, discover and include any components that should be added to your table.

	Label
	Component
	Component’s Purpose

	1.
	Floor Joists
	Used to carry the floor and ceiling loads


	2.
	Subfloor
	Supports the finish flooring


	3.
	Walls
	Verical structure used to hold up the structure


	4.
	Top plate
	Used to hold walls together


	5.
	Header
	Supports structural members over openings such as windows or doors


	6.
	Roof Trusses
	Used to redirect rain from the house down the ground


	7.
	Insulation
	Keeps interior temperature conditions stable 


	8.
	Sheathing
	Covers the roof trusses to seal the roof and prevent water from entering.


	9.
	Vapor Barrier
	Allows water vapor to escape from the home but not enter


	10.
	Siding
	Used to surface the outside walls of a frame building


	11.
	Roof felt
	Further water protection


	12.
	Asphalt Shingles
	Covers the roof felt as another defense against water


	13
	Sill 
	Holds up the window or door and distributes its weight


	14.
	Sole plate
	Provides surface for attaching the wall to its supporting structure


	15.
	Cripple
	Used to transfer weight from the header and sill to the floor


	
	
	

	
	
	

	
	
	


[image: image2.png]



Conclusion
3. List, describe, and explain the purpose of two components of a residential building that you are familiar with, such as your home.

Insulation is the pink portion of the picture and it is used to keep the house from letting in outside weather conditions.
Roof shingles are the black squares and they are used to protect the roof by letting the water run off instead of absorbing it and creating structural issues.
4. Which part of wood frame construction do you think will change the most in the near future? Explain the change and why you believe it will occur soon.

I think the walls will change from 2X4’s to 2X6’s so that houses can have more insulation.[image: image3.png]



7





3





1





15





5





13





2





4





6





8





9





10





11





12





14








© 2010 Project Lead The Way, Inc.

CEA Activity 2.1.1 Wood Frame Systems – Page 2

